## Slide 1
ADA MDE Compliance: Deadlines at a Glance
Key regulatory dates and ongoing requirements for accessible medical diagnostic equipment
Effective July 8, 2024
HHS adopted the U.S. Access Board MDE standards under Section 504, making them enforceable for federally funded entities.
Deadline: July 8, 2026
Federally funded entities must have at least one accessible exam table and one accessible weight scale.
Ongoing Access Rule
Providers cannot deny otherwise-offered care because accessible MDE is unavailable.
Compliance path: standards in effect now → facility readiness by July 2026 → ongoing patient access
ADA MDE Compliance Resource
1
eCFR :: 36 CFR Part 1195 -- Standards for Accessible Medical Diagnostic Equipment
Notes: [Sources] Deck states July 8, 2024 as the HHS adoption/effective date; July 8, 2026 as the deadline for at least one accessible exam table and weight scale; and that providers cannot deny care offered because accessible MDE is unavailable. Source: 2026 ADA MDE REFERENCE RESOURCE 052826.pptx, slides 1-3.

## Slide 2
Leader Action Plan Before the Deadline
Practical actions to convert the requirements into site-level readiness
1
Inventory current equipment
Evaluate current exam table and weight scale equipment to verify compliance.
2
Close equipment gaps
If not compliant, take steps to acquire or replace with compliant equipment.
3
Apply compliant purchasing
MDE acquired after July 8, 2024 must meet accessibility standards until the applicable threshold is met.
4
Protect patient access
Maintain processes so care is not denied or excluded due to lack of accessible MDE.
Immediate focus: confirm compliant exam table + compliant weight scale, then address gaps before July 8, 2026.
ADA MDE Compliance Resource
2
Notes: [Sources] Deck leader actions: evaluate exam table and weight scale equipment, acquire or replace if not compliant, apply compliance to new MDE purchases after July 8, 2024, and do not deny otherwise-offered care because accessible MDE is unavailable. Source: 2026 ADA MDE REFERENCE RESOURCE 052826.pptx, slides 1-3.

## Slide 3
Equipment Readiness Checks
What leaders should verify for the two required equipment categories
Accessible Weight Scale
• Wheelchair access and adequate platform space
Base Width: 32-36in minimum
Wheelchair Space: 36in wide minimum
• Ramp/platform safety, including edge protection and slip-resistant surfaces
Ramp slope no steeper than 1:12
• Standing supports and controls operable with one hand, without tight grasping, pinching, or twisting
Controls must require minimal force
Handrails/supports required on 2 sides
Accessible Exam Table
• Transfer height range with intermediate positions
low transfer height: 17-19in maximum
high transfer height: 25in
at least 4 intermediate positions between low & high
• Transfer surface and two unobstructed transfer sides
• Grab bars/rails, supports when needed, and clearance for wheelchair or portable lift access
ADA MDE Compliance Resource
3
Notes: [Sources] Deck summarizes accessible weight scale requirements, including wheelchair access, platform/ramp safety, standing supports, and controls; accessible exam table requirements, including transfer height, transfer surface/support, and clearance; and threshold context of 10% for most providers and 20% for mobility-focused specialties. Source: 2026 ADA MDE REFERENCE RESOURCE 052826.pptx, slides 1, 4, and 5.